## Cover (hidden)
SOUTH PARK PAVILLION
PRELIMINARY BUDGET OPTION COSTS
PHILIP SPENDLOW FRICS

## SCHEME A (hidden)
SCHEME A
PHILIP SPENDLOW FRICS

## Title
SOUTH PARK PAVILION
SCHEDULE OF WORKS: PRICING DOCUMENT
P G SPENDLOW FRICS
Construction Cost Consultant

## Cost Summary
P G SPENDLOW FRICS
Construction Cost Consultant
SOUTH PARK PAVILION
COST SUMMARY
1 | ENABLING WORKS |  | 0
2 | PILING |  | 0
3 | SUBSTRUCTURE |  | 0
4 | SUPERSTRUCTURE
4.1 | Frame/Prefabricated Buildings |  | 0
4.2 | Upper Floors |  | 0
4.3 | Roof |  | 0
4.4 | Staircases |  | 0
4.5 | External Walls |  | 0
4.6 | Windows & External Doors |  | 0
4.7 | Internal Walls & Partitions |  | 0
4.8 | Internal Doors |  | 0
5 | WALL, FLOOR & CEILING FINISHES
5.1 | Wall Finishes |  | 0
5.2 | Floor Finishes |  | 0
5.3 | Ceiing Finishes |  | 0
6 | FITTINGS & FURNISHINGS
6.1 | Generally |  | 0
7 | SERVICES
7.1 | Electrical Installations |  | 0
7.2 | Mechanical Installations |  | 0
7.3 | Lift Installations |  | 0
8 | EXTERNAL WORKS
8.1 | Site Works |  | 0
8.2 | Drainage |  | 0
8.3 | Incoming Services / Statutory Services |  | 0
9 | PRELIMINARIES |  | 0
10 | PROVISIONAL SUMS |  | 7000
TOTAL COST TO TENDER
| #REF! |  |  | 0
| #REF! |  |  | 0
| #REF! |  |  | #REF!
| 0 |  |  | #REF!
| 0 |  |  | 0
| 0 |  |  | 0
| 0 |  |  | #REF!
| 0 |  |  | #REF!
| 0 |  |  | 0
| #REF! |  |  | #REF!
| 0 |  |  | #REF!
| #REF! |  |  | #REF!
#REF!
#REF!
0
| #REF! |  |  |  | #REF!
| #REF! |  |  | #REF!
#REF!
| #REF! |  |  |  | #REF!
| #REF! |  |  | #REF!
| #REF! |  |  |  | #REF!
| SHELL AND CORE |  | #REF!
| FITTOUT |  | #REF!
| EXTERNALS |  | #REF!
| TOTAL |  | #REF!
check
#REF!

## Preamble
PREAMBLE
A | The following schedule of works is not intended to be an exhaustive description of work but a reasonable and practical guide to the extent and nature of the works under the contract and should be read in conjunction with all the information issued with the Tender Documents.
B | The Contractor is to include in his rates all associated costs relating to all items. Costs relating to items which are not priced, shall be deemed to have been included elsewhere in the Schedule of Works.
C | As a guide, quantities have been indicated for certain items. These are for guidance and the Contractor is responsible for determining for himself the exact quantities and dimensions relative to the works and is deemed to have allowed for this within this priced document.
D | Each and every item within the schedule of works must be priced without exception. This also includes all work which is apparent to those works. Should the Contractor fail to state a price then this item will be deemed to be included within his priced tender. The contractor may for clarification of the scope of work add further items to the schedule of works to fully reflect their planning and pricing strategy. This can be done at the end of each work element.
E | Where there is a discrepancy between the schedule of works and the tender drawings and specifications the drawings and specifications shall take precedence
F | The Contractor should visit the site to view the site and its surroundings, to establish the full extent of the works which are required to complete the whole project and to determine access etc. No claims for additional works required due to the Contractor's failure to visit site shall be entertained.
G | Whether included in the following schedule of works or not, the Contractor shall include for all works required to comply with accredited standards and details. Under no circumstances will additional monies be paid for works associated with achieving this standard
H | All materials are to be as specified. Any substitute products used by the contractor will not be accepted without the prior approval of the Employer and the Contract Administrator
J | The contractor is to provide the Contract Administrator with a detailed contact list of all sub contractors and supplies that they propose to use on the works.
K | The contractor must minimise disturbance to neighbouring properties at all times
L | The Contractor shall be responsible for temporary electric and water supplies to enable him to carry out the Works and maintain the site, and will pay all associated charges.
M | As part of his tender submission the Contrator shall provide his programme for the works and identify his proposed site area and security fencing lines, compound and parking areas.
N | The Contractor is to note that clarifications/queries regarding the tender issue documents or other queries are to be submiited by the cut off date of 10 April 2026.

## Tender Information 1
LIST OF TENDER DOCUMENTS
ARCHITECTURAL
General Arrangement Construction
23346 L | (16) 001 C4 | Foundation Plan
23346 L | (21) 001 C15 | Ground Floor Plan
23346 L | (21) 002 C13 | First Floor Plan
23346 L | (21) 003 C2 | Roof Setting Out Plan
23346 L | (21) 010 C 2 | North Elevation
23346 L | (21) 011 C 2 | South Elevation
23346 L | (21) 012 C 3 | West Elevation
23346 L | (21) 013 C3 | East Elevation
23346 L | (21) 020 C3 | Section AA GL03
23346 L | (21) 020 C1 | Section AA Steelwork Only
23346 L | (21) 022 C1 | Section BB GL C
23346 L | (21) 030 C2 | Section AA Enlarged Extract
23346 L | (24) 001 C2 | Main Stair Details Sheet 01
23346 L | (24) 002 C3 | Main Stair Details Sheet 02
23346 L | (24) 003 C2 | Escape Stair Details Sheet 01
23346 L | (24) 004 C2 | Escape Stair Details Sheet 02
23346 L | (27) 001 C1 | Roof Carcassing Plan DRAFT
23346 L | (30) 001 C2 | External Door Schedule Sheet 01
23346 L | (30) 002 C3 | External Door Schedule Sheet 02
23346 L | (30) 003 C2 | Internal Door Schedule Sheet 01
23346 L | (30) 004 C3 | Internal Door Schedule Sheet 02
23346 L | (30) 005 C1 | Internal Door Schedule Sheet 03
Construction Details
23346 A | (21) 001 C1 | Details Sheet 01
23346 A | (21) 002 C1 | Details Sheet 02
23346 A | (21) 003 C1 | Details Sheet 03
Room Data Sheets
23346 A | (4-) 01
23346 A | (4-) 02
23346 A | (4-) 03
23346 A | (4-) 04
External Works
23346 L | (90) 001 C4 | External Works Plan
23346 L | (90) 002 C3 | External Works Details Sheet 01
23346 L | (90) 003 C3 | External Works Details Sheet 02
23346 L | (90) 004 C3 | External Works Details Sheet 03
23346 L | (90) 005 C3 | External Works Details Sheet 04
23346 L | (90) 006 C1 | External Works Details Sheet 05
23346 L | (90) 010 C1 | Existing Soft Landscape Plan
23346 L | (90) 011 C2 | Proposed Soft Landscape Plan
23346 L | (90) 012 C2 | Soft Landscape Planting Schedule
23346 L | L105 Rev A | Comparative Hard Standing Areas

## Tender Information 2
LIST OF TENDER DOCUMENTS
STRUCTURAL
25-5318 | SE01 A | Proposed Pile Layout and Loadings Sheet 1 of 6
25-5318 | SE02 A | Proposed Ground RC Ground Beams and Raft Slab Sheet 2 of 6
25-5318 | SE03 A | Proposed Ground Floor Plan Showing Structural Layout Sheet 3 of 6
25-5318 | SE04 A | Proposed First Floor Plan Showing Structural Layout Sheet 4 of 6
25-5318 | SE05 A | Structural Notes and Specifications Sheet 5 of 6
25-5318 | SE06 A | Proposed Roof Plan Indicating Metsec Purlins & Eaves Beams Sheet 6 of 6
SERVICES
P26-010-PRE-DR-E-0001 |  | TI | Ground Floor Small Power and Data Layout
P26-010-PRE-DR-E-0002 |  | TI | First Floor Small Power and Data Layout
P26-010-PRE-DR-E-0003 |  | TI | Ground Floor General and Emergency Lighting Layout
P26-010-PRE-DR-E-0004 |  | TI | First Floor General and Emergency Lighting Layout
P26-010-PRE-DR-E-0005 |  | TI | Ground Floor Containment Layout
P26-010-PRE-DR-E-0006 |  | TI | First Floor Containment Layout
P26-010-PRE-DR-E-0007 |  | TI | Ground Floor Fire Alarm
P26-010-PRE-DR-E-0008 |  | TI | First Floor Fire Alarm
P26-010-PRE-DR-E-0011 |  | TI | Ground Floor Lightning Protection
P26-010-PRE-DR-M-0001 |  | TI | Ground Floor HVAC Layout
P26-010-PRE-DR-M-0002 |  | TI | First Floor HVAC Layout
P26-010-PRE-DR-M-0003 |  | TI | Ground Floor Domestics
P26-010-PRE-DR-M-0004 |  | TI | First Floor Domestics
P26-010-PRE-DR-M-0005 |  | TI | Ground Floor Drainage
P26-010-PRE-DR-M-0006 |  | TI | First Floor Drainge
P26-010-PRE-SC-E-0001 |  | TI | LV Distribution Schematic
P26-010-PRE-SP- MEP-001 |  | TI | MEP Specification
GENERAL INFORMATION
APPENDIX A |  |  | Ground Investigation Report
APPENDIX B |  |  | Asbestos Survey
APPENDIX C |  |  | Lift information
APPENDIX D |  |  | Electricity North West Information
APPENDIX E |  |  | Kitchen information and quotation

## Enabling Works
Item | Description |  | Item | Cost
ENABLING WORKS
Demolition
A | Demolish existing pavillion, disconnect all services and make safe. And remove all materias from site. (See preambles) Retain section of existing floor slab as indicated on the drawings. The Contractor is also referred to the Asbestos Report - Appendix B
Item
The Contractor is to note that electrical services exist in the Pavilion, which supply other parts of the park. These services are under investigation, the results of which will be issued during the tender period.
B | Carefully remove feature dedication stones and set aside for reuse
General
C | Excavate to reduce levels |  | Item
D | Lay piling mat as required |  | Item
E | Remove, adjust piling mat to make up level under new floor slab to levels as indicated on the drawings |  | Item
F | Carefully cut through existing floor slab in preparation for 900 x 900 pile cap as shown on SE drawing 22-5318 SE02 P6 |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary | £ | 0

## Piling
Item | Description |  | Item | Cost
PILING - CONTRACTOR DESIGN
The Contractor is referred to SE drawing 22-5318 SE01 A for pile layout and locations and the Ground Investigation Report - Appendix A
A | Establish plant and equipment on site |  | Item
B | To supply details, drawings and calculations for submission to Local Authority |  | Item
C | To make necessary submission and payment of applicable fees to the Local Authority for building regulation requirements. |  | Item
D | Setting out and maintaining pile positions |  | Item
E | To set and install piles as SE drawing |  | Item
F | Testing as required by Building Control Officer |  | Item
G | Remove plant and equipment from site |  | Item
H | Co-ordination of works |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary | £ | 0

## Substructure
Item | Description |  | Item | Cost
SUBSTRUCTURE
The Contractor is referrd to the ground investogation report - Appendix A
A | Prepare existing slab for re-use following building demolition |  | Item
B | Excavate for ground beams and pile caps and prepare bottoms of excavations to receive concrete |  | Item
C | Allow for working space and for removal of excavated material off site |  | Item
D | Backfilling to excavations |  | Item
E | Cut off tops of piles (13nr) |  | Item
Ground beams: including, concrete, reinforcemement and formwork. References:
F |  | A | Item
G |  | B | Item
H |  | C | Item
J |  | D | Item
K |  | E | Item
L |  | F | Item
M |  | G | Item
N | Tie-in new floor slab to existing as shown on SE drawing |  | Item
P | Install holding down bolts
Q |  | new concrete | Item
R |  | existing floor slab | Item
S | 200 Thick ground floor slab with two layers of A393 reinforcement mesh (125m2) |  | Item
T | Form recess as shown on External Wall Detail drawing (23m) |  | Item
U | Formwork to slab edge |  | Item
V | Damp proof membrane |  | Item
W | Insulation |  | Item
X | 150 Thick well compacted hardcore granular fill under slab |  | Item
Y | 50 Thick sand blinding |  | Item
Z | Angle fixed to edge of existing slab with resin bonded anchors (40m) |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary | £ | 0

## Frame
Item | Description |  |  | Item | Cost
FRAME
Supply and erect structural steel frame as indicated on STL drawings: 22-5318 SE03 A, SE04 A and SE06A, with reference to the Architect's elevation, section drawings and Roof Setting out Plan
A |  | general columns and beams |  | Item
B |  | castellated beams |  | Item
C | The Contractor is to note the overall tonnage of steel here:
tonnes
D | Allow for all tapers as indicated |  |  | Item
E | Allow for Contractor designed connections |  |  | Item
F | Metsec purlins |  |  | Item
G | Allow for safety netting |  |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary |  | £ | 0

## Upper Floor
Item | Description |  | Item | Cost
UPPER FLOOR
A | Install 200 thick precast concrete hollow core floor to the spans as indicated on STL drawing 22-5318 SE03 P5. Joints between planks to be fully grouted with minimum of C30 grade concrete.
B | Allow for forming all openings with associated trimmers
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary | £ | 0

## Roof
Item | Description |  | Item | Cost
ROOF
Drawing ref: 23346 L (21) 020 C3 & 003 C2
A | Tata Steel RoofDek D325 or similar approved decking and insulation
B |  | main roof (400m2) | Item
C |  | lower roof (71m2) | Item
D | Exposed external soffits |  | Item
E | Powder coated aluminium eaves fascia on metal profile fin system as section as drawings L(21)003 C1, 020 C1 & 020 C3 (114m), Dales Fabrications Ltd, powder coated system with Dales Monocoque support or similar approved. |  | Item
F | Extra: Bauder insulated roof with single ply membrane finish and XF301 lightweight green seedum roof system (310m2) |  | Item
G | Form box gutters as shown (27m), including 4nr rainwater outlet catch pits |  | Item
H | 100 x 100 Powder coated aluminium rainwater pipes (Guttercrest) inclusive of all fittings |  | Item
J | MSA Latchways Constant Force Post Horizontal Lifeline Fall Arrest System |  | Item
J | Ladder access point and guard rails TBA |  | Item
K | Roof access hatch: Bilco Type E-50TB (set in Seedum roof) |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary | £ | 0

## Stairs
Item | Description |  | Item | Cost
STAIRS
A | Reinforced concrete Main Stairs as drawings L (24) 001 C2 and 002 C3. Allow for all support angles and supplementary steelwork as indicated. (Finishes measured elsewhere) |  | Item
B | 50 Diameter powder coated steel handrail |  | Item
C | Steel escape stair as drawings L (24) 003 C2 and 004 C2, complete with handrails/balustrades. Allow for all support angles and supplementary steelwork as indicated. (Finishes measured elsewhere) |  | Item
D
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary | £ | 0

## Ext Walls
Item | Description |  | Item | Cost
EXTERNAL WALLS
Drawing reference:
A | 140 wide dense block 200 high set as perimeter base for external wall panel system |  | Item
B | 100 wide x 225 high cut dense concrete block set as base for ashlar stone |  | Item
C | Ashlar stone plinth with Ancon staifix timber frame ties at 600 horizontal centres and 450 vertical centres . Plinth 600 high above ground level. Allow for ties around openings. (222m2) |  | Item
D | VisqueenPro double sided jointing tape and Visqueen Zedex CPT DPC |  | Item
External wall comprising:
E | 150 thick insulated SIPS panel system (305m2) |  | Item
F | 50 thick Unilin Thin-TR XtroLiner XO/FB coninuous insulation |  | Item
G | Random stone slips to external face on proprietary panel system, or carrier board |  | Item
H | Ashlar stone slip band
J | Metaline powder coated aluminium Unity SF Cassette panels supported on Clad-line CL2 support system (83m2) |  | Item
K | Powder coated aluminium flashings |  | Item
L | 25 wide services void to internal face with 15 thick Knauf Fire Board |  | Item
M | air vapour control barrier |  | Item
N | From cavities as shown |  | Item
P | Close cavities at reveals. Allow for Timloc Thermo.Loc FR60 closer |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary | £ | 0

## Ext Doors & Windows
Item | Description |  | Item | Cost
EXTERNAL DOORS AND WINDOWS
Refer to Architect's drawings: 23346 l (21) 010 C2, 011 C2, 012 C3 & 013 C3 and External Door Schedules: L(30) 001C1 & 002 C3
Contractor Design
A | Curtain walling, Kawneer or similar,complete with lookalike glass as shown (121m2) |  | Item
B | Extra: double doors D01, D06, D07 |  | Item
| Kawneer AA720 windows: West elevation (2nr) |  | Item
General
C | Double door set D02, DO5 |  | Item
D | Single door set D08, D09, |  | Item
E | Single door set D03 |  | Item
F | Single door set D04 |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary | £ | 0

## Int Walls
Item | Description |  | Item | Cost
Internal Walls
A | 215 Thick block wall to lift (35m2) |  | Item
100 Thick Gyproc partition walls, as detail sheet A (21) 001 C1
B |  | not exceeding 3m high (74m) | Item
C |  | not exceeding 4.5m high (99m) | Item
D | Form first floor servery 'pop out' as indicted on drawings 23346 L (21) 002 C10 and 020 C3 |  | Item
E | Encase steel columns with one hour fire rated plasterboard |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary | £ | 0

## Int Doors
Item | Description |  | Item | Cost
Internal Doors
A | Komfort Defence IE or similar approved powder coated steel framed glazed partition and double doors. To be fire rated 60 minute integrity, 60 minute insulation. (D10 as drawing K (30) 003 C2) |  | Item
B | Kawneer, or similar, bi-fold doors, with aluminium frames as drawing L (30) 004 C3: D11 & D12 |  | Item
Door types as drawings L (30) 0-03 C2, 004 C3 & 005 C1: door references
C | D13 |  | Item
D | D16 |  | Item
E | D17 |  | Item
F |  | D14, 20, 23, 24 | Item
G |  | D15, 29 | Item
H |  | D21,22 | Item
J |  | D18,19, 26, 31, | Item
K |  | D25 | Item
L |  | D27 | Item
M |  | D28 | Item
N |  | D30 | Item
P |  | D32, 33, 34, including Hasipu Gym frameless mirrors | Item
Q | Hot dipped galvanised mesh partition wall with sliding door (IDH Direct Limited) External Equipment Storage/Plant room |  | Item
R | One hour fire rated roller shutter to first floor servery with link to fire alarm system |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary | £ | 0

## Wall Finishes
Item | Description |  |  | Item | Cost
WALL FINISHES
The Contractor is referred to the Architect's Room Data sheets and is to allow for all labour and materials necessary to install and completetheworks in accordance with the specifications
A | Skirting to external wall fixed to 2nr 25 x 59 spacer battens (316m - measured over openings) |  |  | Item
B | G1 |  | (95m2) | Item
C | G2 |  | (32m2) | Item
D | G3/G5 |  | (51m2) | Item
E | G4 |  | (17m2) | Item
F | G6 |  | (26m2) | Item
G | G7 |  | (26m2) | Item
H | G8 |  | (28m2) | Item
J | G9 |  | (#33m2) | Item
K | G10 |  | (32m2) | Item
L | G11 |  | (45m2) | Item
M | G12 |  | (130m2) | Item
N | G12 |  | (30m2) higher level | Item
P | G13 |  | (65m2) | Item
Q | G14 |  | (60m2) | Item
R | G15 |  | (65m2) | Item
S | G16 |  | (36m2) | Item
T | F1 |  | (28m2) | Item
U | F2 |  | (15m2) | Item
V | F3 |  | (41m2) | Item
W | F4/F5 |  | (25m2) | Item
X | F6 |  | (17m2) | Item
Y | F7/F8 |  | (36m2) | Item
Z | F9 |  | (112m2) | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary |  |  | 0

## Floor Finishes
Item | Description |  |  |  |  | Item | Cost
FLOOR FINISHES
The Contractor is referred to the Architect's Room Data sheets and is to allow for all labour and materials necessary to install and completetheworks in accordance with the specifications
Ground Floor (315m2)
A | Visqueen high performace dpm |  |  |  |  | Item
B | Visqueen vapour barrier separating layer |  |  |  |  | Item
C | 150 Thick Celotex XR4000 PIR insulation |  |  |  |  | Item
D | 50 Thick Cemex Supaflow self levelling screed |  |  |  |  | Item
First Floor (153m2)
E | 50mm minimum depth, Cemex Supaflo self compacting, self levelling flowing screed, or simllar approved, 50 to 75mm avergae thickness to allow for 25mm camber of PCC hollow floor. |  |  |  |  | Item
Finishes in accordance with Room Schedules
Main Stair
F | Ceramic tile finish to treads, risers and landings as drawing L(24) 002 C2 |  |  |  |  | Item
G | Profile nosing: Dorset Woolliscroft Black Step Tread Resistant Quarry Tile 148 x 100 x 12. |  |  |  |  | Item
H | The Contractor is to identify here the cost for an alternative LVT finish to the treads, risers, landings and nosing as indicated on drawing L(24) 002 C2 |  |  |  |  | Item
|  |  |  | Cost | £
Gradus vinyl floor finish to toilets with Gradus SI 100-50-02 100mm set in PVC skirting (40m2)
J | G1 |  | (1m2) |  |  | Item
K | G2 |  | (7m2) |  |  | Item
L | G3/G5 |  | (17m2) |  |  | Item
M | G4 |  | (11m2) |  |  | Item
N | G6 |  | (4m2) |  |  | Item
P | G7 |  | (4m2) |  |  | Item
Q | G8 |  | (11m2) |  |  | Item
R | G9 |  | (8m2) |  |  | Item
S | G10 |  | (16m2) |  |  | Item
T | G11 |  | (97m2) |  |  | Item
U | G12 |  | (99m2) |  |  | Item
V | G13 |  | (13m2) |  |  | Item
W | G14 |  | (11m2) |  |  | Item
X | G15 |  | (12m2) |  |  | Item
Y | G16 |  | (4m2) |  |  | Item
Z | F1 |  | (6m2) |  |  | Item
AA | F2 |  | (3m2) |  |  | Item
BB | F3 |  | (18m2) |  |  | Item
CC | F4/F5 |  | (5m2) |  |  | Item
DD | F6 |  | (3m2) |  |  | Item
EE | F7/F8 |  | (8m2) |  |  | Item
FF | F9 |  | (108m2) |  |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary |  |  |  |  | 0

## Ceiling Finishes
Item | Description |  |  | Item | Cost
CEILING FINISHES
The Contractor is referred to the Architect's Room Data sheets and is to allow for all labour and materials necessary to install and completetheworks in accordance with the specifications
A | Gypframe Casoline MF suspended ceiling with wipe clean moisture resistant fire rated plasterboard or tiles. Contractor to identify choice. (62m2) Rooms G2, 3, 4, 5, 6, 7, 8, 9) |  |  | Item
A | G1 |  | (1m2)
B | G10 |  | (16m2)
C | G11 |  | (97m2)
D | G12 |  | (99m2)
E | G13 |  | (13m2)
F | G14 |  | (11m2)
G | G15 |  | (12m2)
H | G16 |  | (4m2)
J | F1 |  | (6m2)
K | F2 |  | (3m2)
L | F3 |  | (18m2)
M | F4/F5 |  | (5m2)
N | F6 |  | (3m2)
P | F7/F8 |  | (8m2)
Q | F9 |  | (108m2)
R | Underdraw steel fire escape stairs with two layers of Knauf Fire Board as drawing L(24) 004 C2, with Gypframe MF7 support channels. |  |  | Item
S
T | Underdraw main stairs with one layer of Knauf Fire Board as drawing L(24) 002 C2 |  |  | Item
U | Encase steel beams with one hour fire rated plasterboard |  |  | Item
V | Allow for all fire stopping and incidental insulation |  |  | Item
W | Allow for forming roofs over the first floor servery |  |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary |  |  | 0

## FF&E
Item | Description |  | Item | Cost
Fittings and Furnishings
Allow for kitchen units and equipment supplied by &Serve, as their quotation in Appendix E. &Serve will install the specified equipment identified in their quotation. The Contractor is resposible for unpacking, positioning and installing all other items.
A |  | ground floor Café, including second fix electrics and plumbing | Item
B |  | first floor Events, including second fix electrics and plumbing | Item
Install serveries
C |  | ground floor Cafe | Item
D |  | first floor Events | Item
Vanity units: underframe with access panels and post formed SGL vanity top for recessed WHB's with rear splashback wall upstand
E |  | Rooms G8 & G9 | Item
WC cubicles
F |  | G8 & G9 | Item
G |  | F4 | Item
H | Mirrors |  | Item
Metal framed IPS duct panel system with solid grade laminate panels. Bushboard Ezeeduct or similar.
J |  | Rooms G6, G7, G8 & G9 | Item
K | Extra: allow for metal air grilles for air flow to air admittance valve |  | Item
L |  | Rooms F4, F7 & F8 | Item
M | Liaise with the Employer's Changing Places Toilet fit out contractor and allow access for them to carry out the works. Liaise and coordinate services connections and drainage points. |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary | £ | 0

## Electrical Installation
Item | Description |  | Item | Cost
ELECTRICAL INSTALLATION
The Contractor is referred to the electrical drawings and specifications
A | Isolation and stripping out |  | Item
B | Containment installation |  | Item
C | Power installation |  | Item
D | Data installation |  | Item
E | Lighting and emergency lighting installation |  | Item
F | Mechanical power supplies |  | Item
G | Fire alarm installation |  | Item
H | Security installation |  | Item
J | Testing and commissioning |  | Item
K | As fitted drawings and maintenance manuals |  | Item
L | Builder's work (including strutural engineering calculations) |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
Total to Summary

## Mechcanical Installation
Item | Description |  | Item | Cost
MECHANICAL INSTALLATION
The Contractor is referred to the mechanical drawings and specifications
A | Isolation and stripping out |  | Item
B | Air conditioning installation |  | Item
C | Domestic hot and cold water installation |  | Item
D | Above ground drainage installation |  | Item
E | Thermal insulation |  | Item
F | Water treatment |  | Item
G | Testing and commissioning |  | Item
H | Electrical power supplies |  | Item
J | As fitted drawings and maintenance manuals |  | Item
K | Builder's work (including strutural engineering calculations) |  | Item
Builder's Work
General allowance
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary |  | 0

## Lift Installation
Item | Description |  | Item | Cost
LIFT INSTALLATION
A | The Contractor is referred to the Appendix C, lift information pack, and is to coordinate with the electrical subcontractor |  | Item
B | The Contractor may offer an alternative supplier who is equal and approved |  | Item
Builder's Work
A |  | General allowance
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary |  | 0

## Drainage
Item | Description |  | Item | Cost
DRAINAGE
The Contractor is referred to drawing 23346 L (90) 001 C4 for the proposed drainage layout. The Contractor is to ascertain for himself existing manhole invert levels to ensure the new drainage runs tie in into the existing system
The drain runs noted are to include for excavation, pipework, granular bed and surround, backfilling and disposal of spoil
Surface Water
A | Drain run from North East corner to new manhole (3m) |  | Item
B | Drain run between two new manholes along East Elevation (19m) |  | Item
C | Drain run from South East corner to new manhole (1m) |  | Item
D | Drain run between two new manholes along South Elevation (31m) |  | Item
E | Drain run from South West corner to new manhole (8m). Manhole indicative invert 151.20. |  | Item
F | Drain run from new manhole (indicative invert 151.20 to existing manhole (indicative invert 151.36) (7m) |  | Item
G | Drain run form North West corner to existing manhole (indicative invert 151.36) (16m) |  | Item
H | Allow for all accessories: bends, junctions, back inlet gullies |  | Item
J | Form new manholes complete with medium duty covers (2nr) |  | Item
K | Form new manhole on line of existing drain run (1nr) |  | Item
L | Allow for testing |  | Item
Foul Drainage
M | Drain run from South Elevation to new manhole (6m) |  | Item
N | Drain run between new manholes to South Elevation (29m) |  | Item
P | Drain run from Café kitchen to new manhole on South Elevation (7m) |  | Item
Q | Drain run from new manhole to existing manhole (6m) |  | Item
R | Drain run from Café kitchen to new manhole on West Elevation (5m) |  | Item
S | Drain run from Staff to new manhole (6m) |  | Item
T | Drain runs from Female and Male toilets to new manhole (4m) |  | Item
U | Drain run between new manholes to West Elevation (7m) |  | Item
V | Extra: surround internal pipes in concrete |  | Item
W | Allow for all accessories: rest bends, rocker pipes |  | Item
X | Form new manholes complete with medium duty covers (5nr) |  | Item
Y | Form new manhole on line of existing drain run (1nr) |  | Item
Z | Allow for testing |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary |  | 0

## Ext Works
Item | Description |  | Item | Cost
EXTERNAL WORKS
The Contractor is referred to the external works drawings for proposed layouts and levels.
A | Excavate to required formation levels for all finishes, including breaking up existing surfaces where required and for removal of spoil off site (Reduced level for the building is included under Substructure) |  | Item
B | Lay tarmacadam surfacing complete, as specified, including sub layers, falls etc (298m2) |  | Item
C | Lay 50 thick flat to edging on and including concrete base and haunching (151m) |  | Item
D | Landscape planting provide and lay imported top soil to required levels (210m2) |  | Item
E | Native species hedge planting (10m) |  | Item
F | Form steps, including balustrade as shown on drawing 23346 l (90) 002 C3, including altering and adapting existing retaining wall as required |  | Item
G | Form ramp access to main entrance as shown on drawing 23346 L (90) 003 C3 |  | Item
H | Provide and construct new Bin Store complete in all respects as shown on drawings 23346 L (90) 004 C3, 005 C3 and 006 C3: foundations, retaining walls, external walls, external doors and roof. Including internal mesh panels and sliding door. Allow for tarmacadam surfacing laid to falls. |  | Item
J | Soft landscaping planting as drawing 23346 l (90) 012 C2 and specification |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary |  | 0

## Incoming Services
Item | Description |  | Item | Cost
INCOMING SERVICES
Incoming Electrical Supply
The Contractor is referred to quotation ref: 5500343131/C from ENW and the proposed connection point and underground trench route indicated on the drawings included in Appendix D. It is the Contractor's responsibility to engage with ENW and coordinate the works and carry out associated builder's work
A | ENW quotation for the works - Option 1 |  | Item
B | Trenching works, including breaking up and making good hard and soft surfaces (88m) |  | Item
C | Extra: liaising with the tree route specialist and carrying out the works with his guidance |  | Item
D | Installation of draw pits |  | Item
E | Final connection to building distribution board |  | Item
The Contractor is to detail below any items not specifically identified above that he considers should be shown and included in the tender
|  | Total to Summary |  | 0

## Preliminaries
Item | Description |  |  | Fixed | Time |  | Cost
[5 empty] | Rate | Weeks
PRELIMINARIES
A | The Contrator is to identify his proposed contract period for Works on site upon which his Preliminaries cost is based
|  | Contract period | weeks
B | Include for all necessary costs required for the proper execution of the works and priced more conveniently here (list as necessary):-
C | Supervision
D | Admin/qs
E | Setting out engineer
F | General site labour
G | Cabins/welfare
H | Scaffolding
J | Plant and equipment
L | Temporary electric supplies
M | Temporary water supplies
N | Site security
Cleaning
P |  | Contractor's clean
Q |  | Sparkle clean
R | Insurances
S | CDM
T | Site access
Other Items: the Contractor to list here:
|  | Total to Summary |  |  |  | £ | 0

## Provisional Sums
Item | Description |  |  | Item | Cost
PROVSIONAL SUMS
The provisional sums noted below will be expended as instructed by the CA. All cost information shall be provided to the Quantity Surveyor for audit and approval
The Contrator is to indicate his required overheads and profit mark up below
|  | Overheads and profit | %
A | Partition walls and roof to the first floor storage cupboard |  |  | Item | 2000
B | Temporary Park Run facilities |  |  | Item | 5000
|  | Total to Summary |  |  | 7000

## Dayworks
DAYWORKS
The Contractor is to state here his required all inclusive hourly labour daywork rates and percentage mark ups on materials and plant
Labour
For works during the Contract Period
A | Craftsman | £ | per hour
B | Semi-skilled | £ | per hour
C | Labourer | £ | per hour
For works after Practical Completion
D | Craftsman | £ | per hour
E | Semi-skilled | £ | per hour
F | Labourer | £ | per hour
Materials and goods
G | Percentage addition to net costs to cover incidental costs, overheads and profit - during the Contract Period |  | %
H | Percentage addition to net costs to cover incidental costs, overheads and profit - after Practical Competion |  | %
Plant
J | Percentage addition to net costs to cover incidental costs, overheads and profit - during the Contract Period |  | %
K | Percentage addition to net costs to cover incidental costs, overheads and profit - after Practical Competion |  | %